## 位移电压曲线Travel & Voltage
位移与电压曲线/Displacement vs Voltage Curve
|  | 电压Voltage (V) | 开环Open-loop | 闭环/Closed-loop
|  |  | 位移Displacement (µm) | 位移Displacement (µm)
|  | 0 | 0 | 0
www.coremorrow.com | 微信服务号/Wechat | 15 | 7.5676 | 8.8586
|  | 30 | 16.1604 | 17.7428
|  | 45 | 25.5368 | 26.6306
|  | 60 | 35.3256 | 35.5174
|  | 75 | 45.1518 | 44.4124
测试环境/Test Condition |  | 90 | 54.7128 | 53.2944
型号/Model | XP-611.X100S | 105 | 63.9126 | 62.1842
测试温度/Temperature | 20℃，31%RH | 120 | 72.6224 | 71.0872
负载/Load | 50g | 135 | 80.8278 | 79.9914
电压范围/Voltage | 0~120V | 150 | 88.4862 | 88.9082
|  | 135 | 82.8674 | 80.0038
|  | 120 | 76.3016 | 71.105
|  | 105 | 69.0366 | 62.2084
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch. |  | 90 | 61.1274 | 53.3186
|  | 75 | 52.5722 | 44.4308
|  | 60 | 43.416 | 35.5446
|  | 45 | 33.5746 | 26.6532
|  | 30 | 23.1648 | 17.7656
|  | 15 | 12.2786 | 8.8802
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。 |  | 0 | 1.1224 | 0.0178
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 谐频与负载Freq vs Load
谐振频率曲线/Resonant frequency Curve
|  | 负载Load[g] | 谐振频率Resonant frequency (Hz)
|  | 0 | 283
www.coremorrow.com | 微信服务号/Wechat | 50 | 173
|  | 100 | 136
|  | 300 | 85
|  | 500 | 67
|  | 800 | 53
测试环境/Test Condition |  | 1200 | 44
型号/Model | XP-611.X100S
测试温度/Temperature | 20℃，31%RH
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.

## 线性度Linearity
线性度/Linearity
|  | 控制输入Control input（V） | 输出位移Displacement（μm） | 偏差位移Deviation（μm） | 线性度Linearity（%F.S.）
|  | 0 | 0 | 0 | 0
|  | 1 | 8.8586 | 0.0322 | 0.036217
www.coremorrow.com | 微信服务号/Wechat | 2 | 17.7428 | 0.0388 | 0.043641
|  | 3 | 26.6306 | 0.0418 | 0.047015
|  | 4 | 35.5174 | 0.0458 | 0.051514
|  | 5 | 44.4124 | 0.0418 | 0.047015
|  | 6 | 53.2944 | 0.0506 | 0.056913
测试环境/Test Condition |  | 7 | 62.1842 | 0.0516 | 0.058037
型号/Model | XP-611.X100S | 8 | 71.0872 | 0.0394 | 0.044315
测试温度/Temperature | 20℃，31%RH | 9 | 79.9914 | 0.026 | 0.029244
负载/Load | 50g | 10 | 88.9082 | 0 | 0
电压范围/Voltage | 0~120V
免责声明:该数据为典型数据,仅供参考。不同批次的产品，性能数据会略有不同。 DISCLAIMER: The data here are typical, only for reference. Some variations will occur for different batch.
若有疑问，请与我们联系。Any question, please contact us. info@coremorrow.com，+86-0451-86268790。
版权所有：哈尔滨芯明天科技有限公司 Copyright@Harbin Core Tomorrow Science and Technology Co.,Ltd.